FIRE SAFETY AT HOSPITALS, NURSING HOMES AND ALL INSTITUTIONS

Please ensure that when you go to any place of work that you familiarize yourself with emergency number for cardiac arrests and for fire. It is important that you make yourself aware where the assembly points are in the event of a fire.

PRE FIRE PLANNING:

1. Become familiar with the area by observing where the nearest fire point and break glass unit is located.

2. Know all available evacuation routes and where they lead to.

3. Never use door wedges to keep fire doors open.

4. Never obstruct corridors with furniture or equipment.

5. Never leave appliances unattended ie cooker,microwave etc

6. Practice good housekeeping at all times by adopting a "clean Area Policy" and encouraging others to" Clean as you go."

7. Never use damaged or faulty equipment - get them repaired or replaced.

8. Switch off non - essential equipment where possible.

ON DISCOVERY OF A FIRE:

1. Dial the emergency number to call the fire brigade.Break the nearest break glass unit.Inform others verbally.

2. Fight the fire only if safe to do so.

3. Prepare to evacuate by making the area safe-isolate oxygen supplies,electrical equipment etc.

4. Direct staff and patients to nearest evacuation route - use stairways  and horizontal evacuation routes where required.

5. Instruct staff and patients not to use lifts.

6. Close all windows and fire doors and assemble at nearest assembly point.

7. Do not re - enter building.

Fire Services Act 1981 main provisions are:

Prevent the outbreak of fire doing proper Risk Assessments, proper house keeping and a clearly defined smoking policy.

You can minimise the risk in the event of an outbreak by

- Good smoke detectors

- Proper Fire Fighting Equipment

- Emergency Lightenin- People trained in Emergency plans and fire drills

Public Health (Tobacco) Regulations 2000

- Ban on smoking in the workplace

- Up to 3000 euro fines

- Must ensure smoke does not mitigate back into the building from smoking shelters

- Designated smoking shelters